**MINUTES OF THE 20th MEETING OF KMU TECHNICAL EVALUATION COMMITTEE HELD ON 11/11/2021**

 The meeting of KMU Technical Evaluation Committee was held on 11/11/2021 at 11:30 AM, in committee room of Khyber Medical University, Peshawar. The following attended the meeting:

1. Dr. Sami Siraj, Associate Professor, IBMS Chairman
2. Mr. Usman Iqbal, Deputy Treasurer, KMU Member
3. Mr. Ihsan Javed, System Analyst, KMU Member
4. Mr. Sajid Aziz, Lab Technologist, KMU Member/Secretary
5. Dr. Yasir Mehmood Yousafzai, Director, PHRL End User / Technical Expert
6. Dr. Ishaq N Khan, Assistant Professor IBMS Co-opted Member

 The Chair welcomed the participants and initiated with formal proceedings of the meeting. The Deputy Director (Procurement) facilitated the forum by providing all relevant documents associated with agenda item.

**AGENDA ITEM 1:BID EVALUATION FOR THE PURCHASE OF KITS, CHEMICALS, CONSUMABLES AND EQUIPMENT’S FOR PUBLIC HEALTH REFERENCE LAB (PHRL), KMU**

The Technical Evaluation Committee evaluated the technical proposals for the purchase of kits, chemicals, consumables and equipment’s for public health reference lab (PHRL), KMU as per already approved criteria marking and made recommendations accordingly. However, it merits attention that as per approved criteria Marking agenda no.1 *“****bidders securing below 35 marks out of 70 in technical will be declared disqualified and their financial bid will be returned unopened****”.*

| **Evaluation Criteria for Consumables/Kits # LOT#1 ITEMS # 1,2,3**  |
| --- |
| **S. No.** |  | **To firm/bidder Points/Marks** | **M/S BIOSORIN** |
| **A** | **Product / Manufacturer Evaluation Parameters** |   |
| **1** | Compliance Sheet in attached Viz-a-Viz format / form. | **Mandatory** | YES |
| **1.1** | Product General Information | **Mandatory** | YES |
| **1.2** | Ref. No of item in SBD Schedule of Requirement | **Mandatory** | YES |
| **1.3** | Name of equipment | **Mandatory** | YES |
| **1.4** | **Manufacturer Authorization Distributor Certificate** (A certificate from OEM (Original Equipment Manufacturer) clarifying that the bidder is authorized by the manufacturer for the Quoted Items). | **Mandatory** | YES |
| **1.5** | **Registration with income tax (who are on Active Tax Payer List), Sales Tax and Excise and Taxation Department of Khyber Pakhtunkhwa.**  | **Mandatory** | YES |
| **1.6** | **Brochures/literature** containing the specifications of the Quoted equipment. (Offers from bidders who have not Quoted the make/model and Brochure of the equipment will not be entertained and will be rejected in the preliminary technical evaluation process). | **Mandatory** | YES |
| **1.7** | **Undertaking** from the bidder on judicial stamp paper that it has not been blacklisted by any government entity or its owner(s) has not been partner of any previously blacklisted firm(s) and has not been litigated by any government/autonomous entity. | **Mandatory** | YES |
| **1.8** | **Warranty Period** of three years both with spare parts and services & Next two-year services only without parts, from the date of Installation / Commissioning. | **Mandatory** | YES |
| **1.9** | **Undertaking** that the response time and resolution of any problem/technical issue/defect will be less than 24 hours. | **Mandatory** | YES |
| **2** | **Conformance to Specification** |   |
| **2.1** | Fully compliance with the required specifications as per Statement of Requirement.  | 15 | 15 |
| Minor deviations may be accommodated up to 4, subject to the condition that main function and performance in any aspect would not be affected. More than 4 minor deviations will be considered as **major deviation and the bidder will be considered as Non-Responsive** for the Quoted Item. (One mark for each exceeding 4 deviation will be deducted). |
| **3** | **Product International Certification** |
| **3.1** | Valid Certificate of US Food and Drug Administration (USFDA) of Quoted Item. | 3 | 0 |
| **3.2** | Certificate of European community medical devices directive (CEMDD). | 3 | 0 |
| **3.3** | Certificate of Japan Industrial Standard, Ministry of health labor and welfare Japan (JIS/MHLW). (English Version) | 3 | 0 |
| **4** | **Manufacturer/Distributor Performance** |   |
| **4.1** | Valid ISO 13485 Medical Devices Quality Management Systems Certificate for Quoted model. | 2 | 2 |
| **4.2** | Weightage for local Pakistani origin manufacturer. | 3 | 0 |
| **4.3** | ISO 9001 Quality Management Certificate from IAF (International Accreditation Forum). | 2 | 0 |
| **4.4** | OSHAS 18001/45001, Occupational Health & Safety Series from IAF (International Accreditation Forum) | 2 | 0 |
| **5** | **After Sale Product Local Performance** |   |
| **5.1** | Two marks (max 12 marks) for each **after sale satisfactory performance certificate (verifiable) on letter head, signed and stamped letter** for the similar or relevant chemicals/consumables/kits from the **public sector/educational institution** of Pakistan. | 12 | 2 |
| **Supply Order / Purchase Order / Installation reports / Delivery challan will not be considered as satisfactory performance certificate.** |
|   |
| **5.2** | One mark for each (maximum 8) **after sale satisfactory performance certificate (verifiable) on letter head** for the similar or relevant chemicals/consumables/kits at **teaching level private sector medical/pharmaceutical institution of Pakistan**.  | 8 | 3 |
| **Supply Order / Purchase Order / Installation reports / Delivery challan will not be considered as satisfactory performance certificate.** |   |   |
|   |   |   |
| **A** | **Total score of the Product Manufacturer/authorized distributor Evaluation Parameters** | **53** | 22 |
| **B** | **Firm/Bidder Evaluation Parameters** |   |
| **6** | **Firm/Bidder Financial Strength** |   |
| **6.1** | A.  Marks will be to firm/bidder on the basis of having Capital Resource.20 million or above will be awarded 12 marks as at June 30th, 2020. Rs.10 million to Rs.19.9 million will be awarded 6 marks. Rs.0.5 million to Rs.1 million will be awarded 3 marks as on 30th June, 2020. No marks shall be given for Capital Resource of Less than 0.5 million. The Capital Resource will be established from attested Audited Reports by chartered accountant firms only as at June 30th, 2020. However, the firms will provide Audited Reports of last three years. | 12 | 12 |
| **6.2** | **Firm Registration** |   |
| **6.3** | Firm registered with DRAP (Drug Regularity Authority of Pakistan) to import / manufacture of medical devices. | 2 | 2 |
| **6.4** | Valid ISO 9001 Quality Management Certificate of the firm from PNAC. | 3 | 0 |
| **B** | **Total Score of the Firm/Bidder Evaluation Parameters** | **17** | 14 |
| **C** | **Total Score (A + B)** | **(53+17) = 70** | 36 |

| **Evaluation Criteria for Lot# 3 including Item 33,34,35,3637**  |
| --- |
|  |  |  | **M/S SMK Scientific**  | **M/S Hospicare System** | **M/S Musaji Adam & Sons** | **Pakistan Hospital**  | **M/S SU Enterprises** | **M/S Rays Technology** | **M/S H.A Shah** |
| **S. No.** | **Description of Variables** |   |   |   |   |   |   |   |   |
| **A** | **Product / Manufacturer Evaluation Parameters** |   |   |   |   |   |   |   |
| **1** | Compliance Sheet in attached Viz-a-Viz format / form. | **Mandatory**  | NO | YES | NO | YES | YES | NO | YES |
| **1.1** | Product General Information | **Mandatory**  | YES | YES | YES | YES | YES | YES | YES |
| **1.2** | Ref. No of item in SBD Schedule of Requirement | **Mandatory**  | YES | YES | YES | YES | YES | YES | YES |
| **1.3** | Name of equipment | **Mandatory**  | YES | YES | YES | YES | YES | YES | YES |
| **1.4** | **Manufacturer Authorization Distributor Certificate** (A certificate from OEM (Original Equipment Manufacturer) clarifying that the bidder is authorized by the manufacturer for the Quoted Items). | **Mandatory**  | YES | NO | NO | YES | YES | YES | YES |
| **1.5** | **Registration with income tax (who are on Active Tax Payer List), Sales Tax and Excise and Taxation Department of Khyber Pakhtunkhwa.**  | **Mandatory**  | YES | YES | YES | YES | YES | YES | YES |
| **1.6** | **Brochures/literature** containing the specifications of the Quoted equipment. (Offers from bidders who have not Quoted the make/model and Brochure of the equipment will not be entertained and will be rejected in the preliminary technical evaluation process). | **Mandatory**  | YES | YES | NO | YES | YES | YES | YES |
| **1.7** | **Undertaking** from the bidder on judicial stamp paperthat it has not been blacklisted by any government entity or its owner(s) has not been partner of any previously blacklisted firm(s) and has not been litigated by any government/autonomous entity. | **Mandatory**  | NO | YES | YES | YES | YES | YES | YES |
| **1.8** | **Warranty Period** of three years both with spare parts and services & Next two-year services only without parts, from the date of Installation / Commissioning. | **Mandatory**  | NO | YES | NO | YES | YES | YES | YES |
| **1.9** | **Undertaking** that the response time and resolution of any problem/technical issue/defect will be less than 24 hours. | **Mandatory**  | NO | YES | NO | YES | YES | NO | YES |
| **2** | **Conformance to Specification** |   |   |   |   |   |   |   |
| **2.1** | Fully compliance with the required specifications as per Statement of Requirement.  | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 |
| Minor deviations may be accommodated up to 4, subject to the condition that main function and performance in any aspect would not be affected. **More than 4 minor deviations will be considered as major deviation and the bidder will be considered as Non-Responsive for the Quoted Item.** (One mark for each exceeding 4 deviation will be deducted). |
| **3** | **Product International Certification** |
| **3.1** | Valid Certificate of US Food and Drug Administration (USFDA) of Quoted Item. | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| **3.2** | Certificate of European (community Medical devices directive (CEMDD). | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| **3.3** | Certificate of Japan Industrial Standard, Ministry of health labor and welfare Japan (JIS/MHLW). (English Version) | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| **4** | **Manufacturer/Distributor Performance** |   |   |   |   |   |   |   |
| **4.1** | Valid ISO 13485 Medical Devices Quality Management Systems Certificate for Quoted model. | 2 | 0 | 2 | 2 | 2 | 0 | 2 | 2 |
| **4.2** | Weightage for local Pakistani origin manufacturer. | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| **4.3** | ISO 9001 Quality Management Certificate from IAF (International Accreditation Forum). | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2 |
| **4.4** | OSHAS 18001/45001, Occupational Health & Safety Series from IAF (International Accreditation Forum) | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| **5** | **After Sale Product Local Performance** |   |   |   |   |   |   |   |
| **5.1** | Two marks (max 10 marks) for each **after sale satisfactory performance certificate (verifiable) on letter head, signed and stamped letter** for the Quoted model or previous provided model of equipment from the **public sector/educational institution** of Pakistan.  | 10 | 0 | 0 | 0 | 10 | 0 | 2 | 0 |
| **Supply Order / Purchase Order / Installation reports / Delivery challan will not be considered as satisfactory performance certificate.** |
| **5.2** | One mark for each after sale satisfactory (maximum 6) performance certificate (verifiable) on letter head for the Quoted/previous model installed at **teaching level private sector medical/pharmaceutical institution of Pakistan**.  | 6 | 0 | 0 | 0 | 3 | 0 | 0 | 0 |
| **Supply Order / Purchase Order / Installation reports / Delivery challan will not be considered as satisfactory performance certificate.** |
|   |
| **A** | **Total score of the Product Manufacturer/authorized distributor Evaluation Parameters** | 49 | 15 | 19 | 19 | 32 | 17 | 19 | 19 |
| **B** | **Firm/Bidder Evaluation Parameters** |   |   |   |   |   |   |   |
| **1** | **Personnel/Human Resource**  |   |   |   |   |   |   |   |
| **6.1** | Diploma of Associate Engineer (DAE) in electrical / electronic / biomedical / mechatronics / mechanical / industrial. DAE certificate must be submitted. (1 mark for each certificate) | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |
| **6.2** | Engineer with PEC Registration in electrical / electronics, biomedical / mechatronics / mechanical / industrial. PEC registration card of the engineer must be submitted. (1 marks for each Engineer) or Relevant Technical expert of application on equipment | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |
| **6.3** | Undertaking on judicial stamp paper for availability of spare parts. | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 |
| **7** | **Firm/Bidder Financial Strength** |   |   |   |   |   |   |   |
| **7.1** | Marks will be to firm/bidder on the basis of Capital Resource 30 M or above will be awarded 10 marks in last 3 years. Rs.20M to Rs.29.9 M will be awarded 6 marks in last 3 years. Rs.19.9 M to Rs.10 M will be awarded 3 marks as on 30th June, 2020. No marks shall be given for Capital Resource of Less than 10 M. The Capital Resource will be established from attested Audited Reports by chartered accountant firms only, preferably for the last three years | 10 | 0 | 10 | 10 | 0 | 10 | 10 | 10 |
| **7.2** | **Firm Registration** |   |   |   |   |   |   |   |
| **7.3** | Firm registered with DRAP (Drug Regularity Authority of Pakistan) to import / manufacture of medical devices. | 2 | 0 | 2 | 0 | 0 | 2 | 0 | 2 |
| **7.4** | Valid ISO 9001 Quality Management Certificate of the firm from PNAC. | 3 | 0 | 0 | 0 | 3 | 0 | 3 | 0 |
| **B** | **Total Score of the Firm/Bidder Evaluation Parameters** | 21 | 0 | 13 | 10 | 3 | 12 | 14 | 18 |
| **C** | **Total Score (A + B)** | 70 | 15 | 32 | 29 | 35 | 29 | 35 | 37 |

| **Evaluation Criteria for Lot# 4 including Items 38,39,40,41,42**  |
| --- |
|  |  |  | **M/S SMK Scientific**  | **M/S Musaji Adam & Sons** | **M/S Rays Technology** | **M/S H.A Shah** |
| **S. No.** | **Description of Variables** |   |   |   |   |   |
| **A** | **Product / Manufacturer Evaluation Parameters** |   |   |   |   |
| **1** | Compliance Sheet in attached Viz-a-Viz format / form. |  **Mandatory**  | NO | NO | NO | YES |
| **1.1** | Product General Information | **Mandatory**  | YES | YES | YES | YES |
| **1.2** | Ref. No of item in SBD Schedule of Requirement | **Mandatory**  | YES | YES | YES | YES |
| **1.3** | Name of equipment | **Mandatory**  | YES | YES | YES | YES |
| **1.4** | **Manufacturer Authorization Distributor Certificate** (A certificate from OEM (Original Equipment Manufacturer) clarifying that the bidder is authorized by the manufacturer for the Quoted Items). | **Mandatory**  | YES | NO | YES | YES |
| **1.5** | **Registration with income tax (who are on Active Tax Payer List), Sales Tax and Excise and Taxation Department of Khyber Pakhtunkhwa.**  | **Mandatory**  | YES | YES | YES | YES |
| **1.6** | **Brochures/literature** containing the specifications of the Quoted equipment. (Offers from bidders who have not Quoted the make/model and Brochure of the equipment will not be entertained and will be rejected in the preliminary technical evaluation process). | **Mandatory**  | YES | NO | YES | YES |
| **1.7** | **Undertaking** from the bidder on judicial stamp paperthat it has not been blacklisted by any government entity or its owner(s) has not been partner of any previously blacklisted firm(s) and has not been litigated by any government/autonomous entity. | **Mandatory**  | NO | YES | YES | YES |
| **1.8** | **Warranty Period** of three years both with spare parts and services & Next two-year services only without parts, from the date of Installation / Commissioning. | **Mandatory**  | NO | NO | YES | YES |
| **1.9** | **Undertaking** that the response time and resolution of any problem/technical issue/defect will be less than 24 hours. | **Mandatory**  | NO | NO | NO | YES |
| **2** | **Conformance to Specification** |   |   |   |   |
| **2.1** | Fully compliance with the required specifications as per Statement of Requirement.  | 15 | **Non-Responsive not Quoted all items in lot** | **Non-Responsive not Quoted all items in lot** | 15 | 15 |
| Minor deviations may be accommodated up to 4, subject to the condition that main function and performance in any aspect would not be affected. **More than 4 minor deviations will be considered as major deviation and the bidder will be considered as Non-Responsive for the Quoted Item.** (One mark for each exceeding 4 deviation will be deducted). |
| **3** | **Product International Certification** |   |   |   |   |   |
| **3.1** | Valid Certificate of US Food and Drug Administration (USFDA) of Quoted Item. | 3 | 0 | 0 | 0 | 0 |
| **3.2** | Certificate of European community Medical devices directive (CEMDD). | 3 | 0 | 0 | 0 | 0 |
| **3.3** | Certificate of Japan Industrial Standard, Ministry of health labor and welfare Japan (JIS/MHLW). (English Version) | 3 | 0 | 0 | 0 | 0 |
| **4** | **Manufacturer/Distributor Performance** |   |   |   |   |
| **4.1** | Valid ISO 13485 Medical Devices Quality Management Systems Certificate for Quoted model. | 2 | 0 | 0 | 2 | 2 |
| **4.2** | Weightage for local Pakistani origin manufacturer. | 3 | 0 | 0 | 0 | 0 |
| **4.3** | ISO 9001 Quality Management Certificate from IAF (International Accreditation Forum). | 2 | 0 | 0 | 2 | 2 |
| **4.4** | OSHAS 18001/45001, Occupational Health & Safety Series from IAF (International Accreditation Forum) | 2 | 0 | 0 | 0 | 0 |
| **5** | **After Sale Product Local Performance** |   |   |   |   |
| **5.1** | Two marks (max 10 marks) for each **after sale satisfactory performance certificate (verifiable) on letter head, signed and stamped** letter for the Quoted model or previous provided model of equipment from the **public sector/educational institution** of Pakistan.  | 10 | 0 | 0 | 0 | 0 |
| **Supply Order / Purchase Order / Installation reports / Delivery challan will not be considered as satisfactory performance certificate.** |
| **5.2** | One mark (Maximum 6) for each **after sale satisfactory performance certificate (verifiable) on letter head** for the Quoted/previous model installed at **teaching level private sector medical/pharmaceutical institution of Pakistan**.  | 6 | 0 | 0 | 0 | 0 |
| **Supply Order / Purchase Order / Installation reports / Delivery challan will not be considered as satisfactory performance certificate.** |
|   |
| **A** | **Total score of the Product Manufacturer/authorized distributor Evaluation Parameters** | 49 | 0 | 0 | 19 | 19 |
| **B** | **Firm/Bidder Evaluation Parameters** |   |   |   |   |
| **1** | **Personnel/Human Resource**  |   |   |   |   |
| **6.1** | Diploma of Associate Engineer (DAE) in electrical / electronic / biomedical / mechatronics / mechanical / industrial. DAE certificate must be submitted. (1 mark for each certificate) | 2 | 0 | 0 | 0 | 2 |
| **6.2** | Engineer with PEC Registration in electrical / electronics, biomedical / mechatronics / mechanical / industrial. PEC registration card of the engineer must be submitted. (1 marks for each Engineer) or Relevant Technical expert of application on equipment | 3 | 0 | 0 | 0 | 3 |
| **6.3** | Undertaking on judicial stamp paper for availability of spare parts. | 1 | 0 | 0 | 1 | 1 |
| **7** | **Firm/Bidder Financial Strength** |   |   |   |   |
| **7.1** | Marks will be to firm/bidder on the basis of Capital Resource 30 M or above will be awarded 10 marks in last 3 years. Rs.20M to Rs.29.9 M will be awarded 6 marks in last 3 years. Rs.19.9 M to Rs.10 M will be awarded 3 marks as on 30th June, 2020. No marks shall be given for Capital Resource of Less than 10 M. The Capital Resource will be established from attested Audited Reports by chartered accountant firms only, preferably for the last three years | 10 | 0 | 0 | 10 | 10 |
| **7.2** | **Firm Registration** |   |   |   |   |
| **7.3** | Firm registered with DRAP (Drug Regularity Authority of Pakistan) to import / manufacture of medical devices. | 2 | 0 | 0 | 0 | 2 |
| **7.4** | Valid ISO 9001 Quality Management Certificate of the firm from PNAC. | 3 | 0 | 0 | 3 | 0 |
| **B** | **Total Score of the Firm/Bidder Evaluation Parameters** | 21 | 0 | 0 | 14 | 18 |
| **C** | **Total Score (A + B)** | 70 | 0 | 0 | 35 | 37 |

| **Evaluation Criteria for # 48 (Automated RNA extraction kits),**  |
| --- |
| **S. No.** | **Description of Variables** | **To firm/bidder Points/Marks** | **M/S Pakistan Hospital** | **M/S Scientific Supplies** | **M/S BIOSORIN** | **M/S HOORA**  | **M/S BioTech Scientific** | **M/S Life Span Healthcare** | **M/S Global Marketing Service** | **M/S Molecular Biology Products**  | **M/S Sahaab International**  |
| **A** | **Product / Manufacturer Evaluation Parameters** |  |   |   |   |   |   |   |   |   |   |
| **1** | Compliance Sheet in attached Viz-a-Viz format / form. | Mandatory | YES | NO | NO | YES | NO | YES | YES | NO | NO |
| **1.1** | Product General Information | Mandatory | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| **1.2** | Ref. No of item in SBD Schedule of Requirement | Mandatory | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| **1.3** | Name of equipment | Mandatory | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| **1.4** | **Manufacturer Authorization Distributor Certificate** (A certificate from OEM (Original Equipment Manufacturer) clarifying that the bidder is authorized by the manufacturer for the Quoted Items). | Mandatory | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| **1.5** | **Registration with income tax (who are on Active Tax Payer List), Sales Tax and Excise and Taxation Department of Khyber Pakhtunkhwa.**  | Mandatory | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| **1.6** | **Brochures/literature** containing the specifications of the Quoted equipment. (Offers from bidders who have not Quoted the make/model and Brochure of the equipment will not be entertained and will be rejected in the preliminary technical evaluation process). | Mandatory | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| **1.7** | **Undertaking** from the bidder on judicial stamp paper that it has not been blacklisted by any government entity or its owner(s) has not been partner of any previously blacklisted firm(s) and has not been litigated by any government/autonomous entity. | Mandatory | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| **1.8** | **Warranty Period** of three years both with spare parts and services & Next two-year services only without parts, from the date of Installation / Commissioning. | Mandatory | YES | NO | YES | YES | NO | YES | YES | NO | NO |
| **1.9** | **Undertaking** that the response time and resolution of any problem/technical issue/defect will be less than 24 hours. | Mandatory | YES | YES | YES | YES | NO | NO | YES | NO | NO |
| **2** | **Conformance to Specification** |   |   |   |   |   |   |   |   |   |
| **2.1** | Fully compliance with the required specifications as per Statement of Requirement.  | 15 | 15 | 15 | 15 | 15 | 15 | **Non-Responsive as not match with required specifications** | 10 | **Non-Responsive as not match with required specifications** | **Non-Responsive as not match with required specifications** |
| Minor deviations may be accommodated up to 4, subject to the condition that main function and performance in any aspect would not be affected. **More than 4 minor deviations will be considered as major deviation and the bidder will be considered as Non-Responsive for the Quoted Item.** (One mark for each exceeding 4 deviation will be deducted). |
| **3** | **Product International Certification** |
| **3.1** | Valid Certificate of US Food and Drug Administration (USFDA) of Quoted Item. | 3 | 3 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 |
| **3.2** | Certificate of European community medical devices directive (CEMDD). | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| **3.3** | Certificate of Japan Industrial Standard, Ministry of health labor and welfare Japan (JIS/MHLW). (English Version) | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| **4** | **Manufacturer/Distributor Performance** |   |   |   |   |   |   |   |   |   |
| **4.1** | Valid ISO 13485 Medical Devices Quality Management Systems Certificate for Quoted model. | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 2 |
| **4.2** | Weightage for local Pakistani origin manufacturer. | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| **4.3** | ISO 9001 Quality Management Certificate from IAF (International Accreditation Forum). | 2 | 2 | 0 | 0 | 2 | 2 | 2 | 2 | 0 | 0 |
| **4.4** | OSHAS 18001/45001, Occupational Health & Safety Series from IAF (International Accreditation Forum) | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| **5** | **After Sale Product Local Performance** |   |   |   |   |   |   |   |   |   |
| 5.1 | Two marks (max 12 marks) for each **after sale satisfactory performance certificate (verifiable) on letter head, signed and stamped letter** for the similar or relevant chemicals/consumables/kits from the **public sector/educational institution** of Pakistan. | 12 | 6 | 2 | 4 | 10 | 2 | 6 | 6 | 0 | 0 |
| **Supply Order / Purchase Order / Installation reports / Delivery challan will not be considered as satisfactory performance certificate.** |
|   |
| **5.2** | One mark for each (maximum 8) **after sale satisfactory performance certificate (verifiable) on letter head** for the similar or relevant chemicals/consumables/kits at **teaching level private sector medical/pharmaceutical institution of Pakistan**.  | 8 | 6 | 2 | 6 | 2 | 0 | 1 | 7 | 0 | 0 |
| **Supply Order / Purchase Order / Installation reports / Delivery challan will not be considered as satisfactory performance certificate.** |
|   |
| **A** | **Total score of the Product Manufacturer/authorized distributor Evaluation Parameters** | **53** | 32 | 21 | 27 | 34 | 19 | 11 | 25 | 0 | 2 |
| **B** | **Firm/Bidder Evaluation Parameters** |   |   |   |   |   |   |   |   |   |
| **6** | **Firm/Bidder Financial Strength** |   |   |   |   |   |   |   |   |   |
| **6.1** | A.  Marks will be to firm/bidder on the basis of having Capital Resource.20 million or above will be awarded 12 marks as at June 30th, 2020. Rs.10 million to Rs.19.9 million will be awarded 6 marks. Rs.0.5 million to Rs.1 million will be awarded 3 marks as on 30th June, 2020. No marks shall be given for Capital Resource of Less than 0.5 million. The Capital Resource will be established from attested Audited Reports by chartered accountant firms only as at June 30th, 2020. However, the firms will provide Audited Reports of last three years. | 12 | 3 | 12 | 12 | 12 | 0 | 6 | 12 | 0 | 0 |
| **6.2** | **Firm Registration** |   |   |   |   |   |   |   |   |   |
| **6.3** | Firm registered with DRAP (Drug Regularity Authority of Pakistan) to import / manufacture of medical devices. | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 0 |
| **6.4** | Valid ISO 9001 Quality Management Certificate of the firm from PNAC. | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| **B** | **Total Score of the Firm/Bidder Evaluation Parameters** | **17** | 3 | 14 | 14 | 14 | 2 | 8 | 14 | 2 | 0 |
| **C** | **Total Score C= (A + B)** | **70** | 37 | 35 | 41 | 48 | 23 | 19 | 39 | 2 | 2 |

| **Evaluation Criteria for Item# 49 (Covid-19 Amplification Kits),**  |
| --- |
| **S. No.** |  | **To firm/bidder Points/Marks** | **M/S Pakistan Hospital** | **M/S H A SHAH** | **M/S Scientific Supplies** | **M/S BIOSORIN** | **M/S BioTech Scientific** | **M/S Life Span Healthcare** | **M/S HOORA Pharma** | **M/S Global Marketing Services** | **M/S Med Lab** | **M/S Molecular Biology Products** | **M/S Sahaab International** |
| **A** | **Product / Manufacturer Evaluation Parameters** |   |   |   |   |   |   |   |   |   |   |   |
| **1** | Compliance Sheet in attached Viz-a-Viz format / form. | Mandatory | YES | YES | No | NO | NO | YES | YES | YES | NO | NO | NO |
| **1.1** | Product General Information | Mandatory | YES | YES | Yes | YES | YES | YES | YES | YES | YES | YES | YES |
| **1.2** | Ref. No of item in SBD Schedule of Requirement | Mandatory | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| **1.3** | Name of equipment | Mandatory | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| **1.4** | **Manufacturer Authorization Distributor Certificate** (A certificate from OEM (Original Equipment Manufacturer) clarifying that the bidder is authorized by the manufacturer for the Quoted Items). | Mandatory | YES | YES | Yes | YES | YES | YES | YES | YES | YES | YES | YES |
| **1.5** | **Registration with income tax (who are on Active Tax Payer List), Sales Tax and Excise and Taxation Department of Khyber Pakhtunkhwa.**  | Mandatory | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| **1.6** | **Brochures/literature** containing the specifications of the Quoted equipment. (Offers from bidders who have not Quoted the make/model and Brochure of the equipment will not be entertained and will be rejected in the preliminary technical evaluation process). | Mandatory | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| **1.7** | **Undertaking** from the bidder on judicial stamp paper that it has not been blacklisted by any government entity or its owner(s) has not been partner of any previously blacklisted firm(s) and has not been litigated by any government/autonomous entity. | Mandatory | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| **1.8** | **Warranty Period** of three years both with spare parts and services & Next two-year services only without parts, from the date of Installation / Commissioning. | Mandatory | YES | YES | NO | YES | NO | YES | YES | YES | NO | NO | NO |
| **1.9** | **Undertaking** that the response time and resolution of any problem/technical issue/defect will be less than 24 hours. | Mandatory | YES | YES | YES | YES | NO | NO | YES | YES | YES | NO | NO |
| **2** | **Conformance to Specification** |   |   |   |   |   |   |   |   |   |   |   |
| **2.1** | Fully compliance with the required specifications as per Statement of Requirement.  | 15 | 15 | 15 | 15  | 15 | 15 | 15 | 15 | 15 | 15 | 15 | **Non-Responsive not match with required specifications** |
| Minor deviations may be accommodated up to 4, subject to the condition that main function and performance in any aspect would not be affected. **More than 4 minor deviations will be considered as major deviation and the bidder will be considered as Non-Responsive for the Quoted Item.** (One mark for each exceeding 4 deviation will be deducted). |
| **3** | **Product International Certification** |
| **3.1** | Valid Certificate of US Food and Drug Administration (USFDA) of Quoted Item. | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 |
| **3.2** | Certificate of European community medical devices directive (CEMDD). | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| **3.3** | Certificate of Japan Industrial Standard, Ministry of health labor and welfare Japan (JIS/MHLW). (English Version) | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| **4** | **Manufacturer/Distributor Performance** |   |   |   |   |   |   |   |   |   |   |   |
| **4.1** | Valid ISO 13485 Medical Devices Quality Management Systems Certificate for Quoted model. | 2 | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 0 | 2 | 0 | 2 |
| **4.2** | Weightage for local Pakistani origin manufacturer. | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| **4.3** | ISO 9001 Quality Management Certificate from IAF (International Accreditation Forum). | 2 | 2 | 2 | 0 | 0 | 2 | 2 | 2 | 2 | 2 | 0 | 0 |
| **4.4** | OSHAS 18001/45001, Occupational Health & Safety Series from IAF (International Accreditation Forum) | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| **5** | **After Sale Product Local Performance** |   |   |   |   |   |   |   |   |   |   |   |
| **5.1** | Two marks (max 12 marks) for **each after sale satisfactory performance certificate (verifiable) on letter head, signed and stamped letter** for the similar or relevant chemicals/consumables/kits from the **public sector/educational institution** of Pakistan. | 12 | 6 | 6 | 2 | 4 | 0 | 6 | 10 | 6 | 0 | 0 | 0 |
| Supply Order / Purchase Order / Installation reports / Delivery challan will not be considered as satisfactory performance certificate. |
|   |
| **5.2** | One mark for (Maximum 8) **each after sale satisfactory performance certificate (verifiable) on letter head** for the similar or relevant chemicals/consumables/kits at **teaching level private sector medical/pharmaceutical institution of Pakistan**.  | 8 | 6 | 1 | 2 | 6 | 0 | 1 | 2 | 7 | 0 | 0 | 0 |
| **Supply Order / Purchase Order / Installation reports / Delivery challan will not be considered as satisfactory performance certificate.** |
|    |
| **A** | **Total score of the Product Manufacturer/authorized distributor Evaluation Parameters** | **53** | 34 | 24 | 21 | 27 | 19 | 26 | 34 | 30 | 19 | 15 | 2 |
| **B** | **Firm/Bidder Evaluation Parameters** |   |   |   |   |   |   |   |   |   |   |   |
| **6** | **Firm/Bidder Financial Strength** |   |   |   |   |   |   |   |   |   |   |   |
| **6.1** | A.  Marks will be to firm/bidder on the basis of having Capital Resource.20 million or above will be awarded 12 marks as at June 30th, 2020. Rs.10 million to Rs.19.9 million will be awarded 6 marks. Rs.0.5 million to Rs.1 million will be awarded 3 marks as on 30th June, 2020. No marks shall be given for Capital Resource of Less than 0.5 million. The Capital Resource will be established from attested Audited Reports by chartered accountant firms only as at June 30th, 2020. However, the firms will provide Audited Reports of last three years. | 12 | 3 | 12 | 12 | 12 | 0 | 6 | 12 | 12 | 12 | 0 | 0 |
| **6.2** | **Firm Registration** |   |   |   |   |   |   |   |   |   |   |   |
| **6.3** | Firm registered with DRAP (Drug Regularity Authority of Pakistan) to import / manufacture of medical devices. | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 0 |
| **6.4** | Valid ISO 9001 Quality Management Certificate of the firm from PNAC. | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 |
| **B** | **Total Score of the Firm/Bidder Evaluation Parameters** | **17** | 3 | 14 | 14 | 14 | 2 | 8 | 14 | 14 | 17 | 2 | 0 |
| **C** | **Total Score C= (A + B)** | **70** | 37 | 38 | 35 | 41 | 24 | 34 | 48 | 44 | 36 | 17 | 2 |

| **Evaluation Criteria for Lot#7 ITEMS#61,62** |
| --- |
|  |  |  | **M/S Pakistan Hospital**  | **M/S SU Enterprises** | **M/S Rays Technology** | **M/S Chemical House** |
| **S. No.** | **Description of Variables** |   |   |   |   |   |
| **A** | **Product / Manufacturer Evaluation Parameters** |   |   |   |   |
| **1** | Compliance Sheet in attached Viz-a-Viz format / form. | Mandatory  | YES | YES | NO | YES |
| **1.1** | Product General Information | Mandatory  | YES | YES | YES | YES |
| **1.2** | Ref. No of item in SBD Schedule of Requirement | Mandatory  | YES | YES | YES | YES |
| **1.3** | Name of equipment | Mandatory  | YES | YES | YES | YES |
| **1.4** | **Manufacturer Authorization Distributor Certificate** (A certificate from OEM (Original Equipment Manufacturer) clarifying that the bidder is authorized by the manufacturer for the Quoted Items). | Mandatory  | YES | YES | YES | YES |
| **1.5** | **Registration with income tax (who are on Active Tax Payer List), Sales Tax and Excise and Taxation Department of Khyber Pakhtunkhwa.**  | Mandatory  | YES | YES | YES | YES |
| **1.6** | **Brochures/literature** containing the specifications of the Quoted equipment. (Offers from bidders who have not Quoted the make/model and Brochure of the equipment will not be entertained and will be rejected in the preliminary technical evaluation process). | Mandatory  | YES | YES | YES | YES |
| **1.7** | **Undertaking** from the bidder on judicial stamp paperthat it has not been blacklisted by any government entity or its owner(s) has not been partner of any previously blacklisted firm(s) and has not been litigated by any government/autonomous entity. | Mandatory  | YES | YES | YES | YES |
| **1.8** | **Warranty Period** of three years both with spare parts and services & Next two-year services only without parts, from the date of Installation / Commissioning. | Mandatory  | YES | YES | YES | NO |
| **1.9** | **Undertaking** that the response time and resolution of any problem/technical issue/defect will be less than 24 hours. | Mandatory  | YES | YES | YES | YES |
| **2** | **Conformance to Specification** |   |   |   |   |
| **2.1** | Fully compliance with the required specifications as per Statement of Requirement.  | 15 | 14 | **Non-Responsive, not Quoted all the items in lot**  | 12 | 13 |
| Minor deviations may be accommodated up to 4, subject to the condition that main function and performance in any aspect would not be affected. **More than 4 minor deviations will be considered as major deviation and the bidder will be considered as Non-Responsive for the Quoted Item.** (One mark for each exceeding 4 deviation will be deducted). |
| **3** | **Product International Certification** |   |   |   |   |   |
| **3.1** | Valid Certificate of US Food and Drug Administration (USFDA) of Quoted Item. | 3 | 3 | 0 | 0 | 0 |
| **3.2** | Certificate of European community Medical devices directive (CEMDD). | 3 | 0 | 0 | 0 | 0 |
| **3.3** | Certificate of Japan Industrial Standard, Ministry of health labor and welfare Japan (JIS/MHLW). (English Version) | 3 | 0 | 0 | 0 | 0 |
| **4** | **Manufacturer/Distributor Performance** |   |   |   |   |
| **4.1** | Valid ISO 13485 Medical Devices Quality Management Systems Certificate for Quoted model. | 2 | 2 | 0 | 2 | 0 |
| **4.2** | Weightage for local Pakistani origin manufacturer. | 3 | 0 | 0 | 0 | 0 |
| **4.3** | ISO 9001 Quality Management Certificate from IAF (International Accreditation Forum). | 2 | 2 | 2 | 2 | 2 |
| **4.4** | OSHAS 18001/45001, Occupational Health & Safety Series from IAF (International Accreditation Forum) | 2 | 0 | 0 | 0 | 0 |
| **5** | **After Sale Product Local Performance** |   |   |   |   |
| **5.1** | Two marks (max 10 marks) for each **after sale satisfactory performance certificate (verifiable) on letter head, signed and stamped letter** for the Quoted model or previous provided model of equipment from the **public sector/educational institution** of Pakistan.  | 10 | 10 | 0 | 0 | 0 |
| **Supply Order / Purchase Order / Installation reports / Delivery challan will not be considered as satisfactory performance certificate.** |
| **5.2** | One mark for each **after sale satisfactory performance certificate (verifiable) on letter head** for the Quoted/previous model installed at **teaching level private sector medical/pharmaceutical institution of Pakistan**.  | 6 | 1 | 0 | 0 | 0 |
| **Supply Order / Purchase Order / Installation reports / Delivery challan will not be considered as satisfactory performance certificate.** |
|   |
| **A** | **Total score of the Product Manufacturer/authorized distributor Evaluation Parameters** | 49 | 34 | 2 | 16 | 15 |
| **B** | **Firm/Bidder Evaluation Parameters** |   |   |   |   |
| **1** | **Personnel/Human Resource**  |   |   |   |   |
| **6.1** | Diploma of Associate Engineer (DAE) in electrical / electronic / biomedical / mechatronics / mechanical / industrial. DAE certificate must be submitted. (1 mark for each certificate) | 2 | 0 | 0 | 0 | 0 |
| **6.2** | Engineer with PEC Registration in electrical / electronics, biomedical / mechatronics / mechanical / industrial. PEC registration card of the engineer must be submitted. (1 marks for each Engineer) or Relevant Technical expert of application on equipment | 3 | 0 | 0 | 0 | 0 |
| **6.3** | Undertaking on judicial stamp paper for availability of spare parts. | 1 | 1 | 0 | 1 | 0 |
| **7** | **Firm/Bidder Financial Strength** |   |   |   |   |
| **7.1** | Marks will be to firm/bidder on the basis of Capital Resource 30 M or above will be awarded 10 marks in last 3 years. Rs.20M to Rs.29.9 M will be awarded 6 marks in last 3 years. Rs.19.9 M to Rs.10 M will be awarded 3 marks as on 30th June, 2020. No marks shall be given for Capital Resource of Less than 10 M. The Capital Resource will be established from attested Audited Reports by chartered accountant firms only, preferably for the last three years | 10 | 0 | 10 | 10 | 10 |
| **7.2** | **Firm Registration** |   |   |   |   |
| **7.3** | Firm registered with DRAP (Drug Regularity Authority of Pakistan) to import / manufacture of medical devices. | 2 | 0 | 2 | 0 | 2 |
| **7.4** | Valid ISO 9001 Quality Management Certificate of the firm from PNAC. | 3 | 0 | 0 | 0 | 0 |
| **B** | **Total Score of the Firm/Bidder Evaluation Parameters** | 21 | 1 | 12 | 11 | 12 |
| **C** | **Total Score C= (A + B)** | 70 | 35 | 14 | 27 | 27 |

| **Evaluation Criteria for Item#65 Ultra Low Freezer -86c** |
| --- |
|  |  |  | **M/S Irfan Enterprises** | **M/S Hospicare** | **M/Sahaab International** | **M/S Key scientifc Corporation** | **M/S Pakistan Hospital** | **M/S H.A Shah** | **M/S SU Enterprises** |
| **S. No.** | **Description of Variables** |   |   |   |   |   |   |   |   |
| **A** | **Product / Manufacturer Evaluation Parameters** |   |   |   |   |   |   |   |
| **1** | Compliance Sheet in attached Viz-a-Viz format / form. | Mandatory  | YES | YES | NO | NO | YES | YES | YES |
| **1.1** | Product General Information | Mandatory  | YES | YES | YES | YES | YES | YES | YES |
| **1.2** | Ref. No of item in SBD Schedule of Requirement | Mandatory  | YES | YES | YES | YES | YES | YES | YES |
| **1.3** | Name of equipment | Mandatory  | YES | YES | YES | YES | YES | YES | YES |
| **1.4** | **Manufacturer Authorization Distributor Certificate** (A certificate from OEM (Original Equipment Manufacturer) clarifying that the bidder is authorized by the manufacturer for the Quoted Items). | Mandatory  | YES | YES | YES | YES | YES | YES | YES |
| **1.5** | **Registration with income tax (who are on Active Tax Payer List), Sales Tax and Excise and Taxation Department of Khyber Pakhtunkhwa.**  | Mandatory  | YES | YES | YES | YES | YES | YES | YES |
| **1.6** | **Brochures/literature** containing the specifications of the Quoted equipment. (Offers from bidders who have not Quoted the make/model and Brochure of the equipment will not be entertained and will be rejected in the preliminary technical evaluation process). | Mandatory  | YES | YES | YES | YES | YES | YES | YES |
| **1.7** | **Undertaking** from the bidder on judicial stamp paperthat it has not been blacklisted by any government entity or its owner(s) has not been partner of any previously blacklisted firm(s) and has not been litigated by any government/autonomous entity. | Mandatory  | YES | YES | YES | YES | YES | YES | YES |
| **1.8** | **Warranty Period** of three years both with spare parts and services & Next two-year services only without parts, from the date of Installation / Commissioning. | Mandatory  | NO | YES | NO | YES | YES | YES | YES |
| **1.9** | **Undertaking** that the response time and resolution of any problem/technical issue/defect will be less than 24 hours. | Mandatory  | YES | YES | NO | YES | YES | YES | YES |
| **2** | **Conformance to Specification** |   |   |   |   |   |   |   |
| **2.1** | Fully compliance with the required specifications as per Statement of Requirement.  | 15 | **NOT Matched with spec Non-Responsive** | 10 | 8 | 11 | **11** | 11 | 11 |
| Minor deviations may be accommodated up to 4, subject to the condition that main function and performance in any aspect would not be affected. **More than 4 minor deviations will be considered as major deviation and the bidder will be considered as Non-Responsive for the Quoted Item.** (One mark for each exceeding 4 deviation will be deducted). |
| **3** | **Product International Certification** |
| **3.1** | Valid Certificate of US Food and Drug Administration (USFDA) of Quoted Item. | 3 | 0 | 0 | 0 | 0 | 3 | 0 | 0 |
| **3.2** | Certificate of European community Medical devices directive (CEMDD). | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| **3.3** | Certificate of Japan Industrial Standard, Ministry of health labor and welfare Japan (JIS/MHLW). (English Version) | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| **4** | **Manufacturer/Distributor Performance** |   |   | 0 |   |   |   |   |
| **4.1** | Valid ISO 13485 Medical Devices Quality Management Systems Certificate for Quoted model. | 2 | 0 | 0 | 2 | 2 | 2 | 0 | 0 |
| **4.2** | Weightage for local Pakistani origin manufacturer. | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| **4.3** | ISO 9001 Quality Management Certificate from IAF (International Accreditation Forum). | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2 |
| **4.4** | OSHAS 18001/45001, Occupational Health & Safety Series from IAF (International Accreditation Forum) | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| **5** | **After Sale Product Local Performance** |   |   |   |   |   |   |   |
| **5.1** | Two marks (max 10 marks) for **each after sale satisfactory performance certificate (verifiable) on letter head, signed and stamped letter** for the Quoted model or previous provided model of equipment from the **public sector/educational institution** of Pakistan.  | 10 | 0 | 0 | 0 | 0 | 2 | 6 | 10 |
| **Supply Order / Purchase Order / Installation reports / Delivery challan will not be considered as satisfactory performance certificate.** |
| **5.2** | One mark for each (Maximum 6) **after sale satisfactory performance certificate (verifiable) on letter head** for the Quoted/previous model installed at **teaching level private sector medical/pharmaceutical institution of Pakistan**.  | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |
| **Supply Order / Purchase Order / Installation reports / Delivery challan will not be considered as satisfactory performance certificate.** |
|   |
| **A** | **Total score of the Product Manufacturer/authorized distributor Evaluation Parameters** | 49 | 0 | 12 | 10 | 15 | 20 | 19 | 25 |
| **B** | **Firm/Bidder Evaluation Parameters** |   |   |   |   |   |   |   |
| **6** | **Personnel/Human Resource**  |   |   |   |   |   |   |   |
| **6.1** | Diploma of Associate Engineer (DAE) in electrical / electronic / biomedical / mechatronics / mechanical / industrial. DAE certificate must be submitted. (1 mark for each certificate) | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |
| **6.2** | Engineer with PEC Registration in electrical / electronics, biomedical / mechatronics / mechanical / industrial. PEC registration card of the engineer must be submitted. (1 marks for each Engineer) or Relevant Technical expert of application on equipment | 3 | 0 | 0 | 0 | 0 | 0 | 3 | 0 |
| **6.3** | Undertaking on judicial stamp paper for availability of spare parts. | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 |
| **7** | **Firm/Bidder Financial Strength** |   |   |   |   |   |   |   |
| **7.1** | Marks will be to firm/bidder on the basis of Capital Resource 30 M or above will be awarded 10 marks in last 3 years. Rs.20M to Rs.29.9 M will be awarded 6 marks in last 3 years. Rs.19.9 M to Rs.10 M will be awarded 3 marks as on 30th June, 2020. No marks shall be given for Capital Resource of Less than 10 M. The Capital Resource will be established from attested Audited Reports by chartered accountant firms only, preferably for the last three years | 10 | 0 | 10 | 0 | 6 | 0 | 10 | 10 |
| **7.2** | **Firm Registration** |   |   |   |   |   |   |   |
| **7.3** | Firm registered with DRAP (Drug Regularity Authority of Pakistan) to import / manufacture of medical devices. | 2 | 0 | 2 | 0 | 0 | 0 | 2 | 2 |
| **7.4** | Valid ISO 9001 Quality Management Certificate of the firm from PNAC. | 3 | 0 | 0 | 0 | 0 | 3 | 0 | 0 |
| **B** | **Total Score of the Firm/Bidder Evaluation Parameters** | 21 | 0 | 13 | 0 | 7 | 4 | 18 | 13 |
| **C** | **Total Score C= (A + B)** | 70 | 0 | 25 | 10 | 22 | 24 | 37 | 38 |

| **Evaluation Criteria for Item#66 Ultra Low Freezer -20c** |
| --- |
|  |  |  | **M/S Key scientifc Corporation** | **M/S Irfan Enterprises** | **M/S Sahaab International**  | **M/S SU Enterprises** |
| **S. No.** | **Description of Variables** |   |   |   |   |   |
| **A** | **Product / Manufacturer Evaluation Parameters** |   |   |   |   |
| **1** | Compliance Sheet in attached Viz-a-Viz format / form. | Mandatory | NO | YES | NO | YES |
| **1.1** | Product General Information | Mandatory  | YES | YES | YES | YES |
| **1.2** | Ref. No of item in SBD Schedule of Requirement | Mandatory  | YES | YES | YES | YES |
| **1.3** | Name of equipment | Mandatory  | YES | YES | YES | YES |
| **1.4** | **Manufacturer Authorization Distributor Certificate** (A certificate from OEM (Original Equipment Manufacturer) clarifying that the bidder is authorized by the manufacturer for the Quoted Items). | Mandatory  | YES | YES | YES | YES |
| **1.5** | **Registration with income tax (who are on Active Tax Payer List), Sales Tax and Excise and Taxation Department of Khyber Pakhtunkhwa.**  | Mandatory  | YES | YES | YES | YES |
| **1.6** | **Brochures/literature** containing the specifications of the Quoted equipment. (Offers from bidders who have not Quoted the make/model and Brochure of the equipment will not be entertained and will be rejected in the preliminary technical evaluation process). | Mandatory  | YES | YES | YES | YES |
| **1.7** | **Undertaking** from the bidder on judicial stamp paperthat it has not been blacklisted by any government entity or its owner(s) has not been partnering of any previously blacklisted firm(s) and has not been litigated by any government/autonomous entity. | Mandatory  | YES | YES | YES | YES |
| **1.8** | **Warranty Period** of three years both with spare parts and services & Next two-year services only without parts, from the date of Installation / Commissioning. | Mandatory  | YES | YES | NO | YES |
| **1.9** | **Undertaking** that the response time and resolution of any problem/technical issue/defect will be less than 24 hours. | Mandatory  | YES | YES | NO | YES |
| **2** | **Conformance to Specification** |   |   |   |   |
| **2.1** | Fully compliance with the required specifications as per Statement of Requirement.  | 15 | 15 | 15 | 15 | 15 |
| Minor deviations may be accommodated up to 4, subject to the condition that main function and performance in any aspect would not be affected**. More than 4 minor deviations will be considered as major deviation and the bidder will be considered as Non-Responsive for the Quoted Item.** (One mark for each exceeding 4 deviation will be deducted). |
| **3** | **Product International Certification** |
| **3.1** | Valid Certificate of US Food and Drug Administration (USFDA) of Quoted Item. | 3 | 0 | 0 | 0 | 0 |
| **3.2** | Certificate of European community Medical devices directive (CEMDD). | 3 | 0 | 0 | 0 | 0 |
| **3.3** | Certificate of Japan Industrial Standard, Ministry of health labor and welfare Japan (JIS/MHLW). (English Version) | 3 | 0 | 0 | 0 | 0 |
| **4** | **Manufacturer/Distributor Performance** |   |   | 0 |   |
| **4.1** | Valid ISO 13485 Medical Devices Quality Management Systems Certificate for Quoted model. | 2 | 2 | 2 | 2 | 0 |
| **4.2** | Weightage for local Pakistani origin manufacturer. | 3 | 0 | 0 | 0 | 0 |
| **4.3** | ISO 9001 Quality Management Certificate from IAF (International Accreditation Forum). | 2 | 2 | 2 | 2 | 2 |
| **4.4** | OSHAS 18001/45001, Occupational Health & Safety Series from IAF (International Accreditation Forum) | 2 | 0 | 0 | 0 | 0 |
| **5** | **After Sale Product Local Performance** |   |   |   |   |
| **5.1** | Two marks (max 10 marks) for each **after sale satisfactory performance certificate (verifiable) on letter head, signed and stamped letter** for the Quoted model or previous provided model of equipment from the **public sector/educational institution** of Pakistan.  | 10 | 0 | 6 | 0 | 10 |
| **Supply Order / Purchase Order / Installation reports / Delivery challan will not be considered as satisfactory performance certificate.** |
| **5.2** | One mark (maximum 6) for **each after sale satisfactory performance certificate (verifiable) on letter head** for the Quoted/previous model installed at **teaching level private sector medical/pharmaceutical institution of Pakistan**.  | 6 | 0 | 0 | 0 | 2 |
| **Supply Order / Purchase Order / Installation reports / Delivery challan will not be considered as satisfactory performance certificate.** |
|   |
| **A** | **Total score of the Product Manufacturer/authorized distributor Evaluation Parameters** | 49 | 19 | 25 | 19 | 29 |
| **B** | **Firm/Bidder Evaluation Parameters** |   |   |   |   |
| **1** | **Personnel/Human Resource**  |   |   |   |   |
| **6.1** | Diploma of Associate Engineer (DAE) in electrical / electronic / biomedical / mechatronics / mechanical / industrial. DAE certificate must be submitted. (1 mark for each certificate) | 2 | 0 | 0 | 0 | 0 |
| **6.2** | Engineer with PEC Registration in electrical / electronics, biomedical / mechatronics / mechanical / industrial. PEC registration card of the engineer must be submitted. (1 marks for each Engineer) or Relevant Technical expert of application on equipment | 3 | 0 | 0 | 0 | 0 |
| **6.3** | Undertaking on judicial stamp paper for availability of spare parts. | 1 | 1 | 0 | 0 | 1 |
| **7** | **Firm/Bidder Financial Strength** |   |   |   |   |
| **7.1** | Marks will be to firm/bidder on the basis of Capital Resource 30 M or above will be awarded 10 mark in last 3 years. Rs.20M to Rs.29.9 M will be awarded 6 marks in last 3 years. Rs.19.9 M to Rs.10 M will be awarded 3 marks as on 30th June, 2020. No marks shall be given for Capital Resource of Less than 10 M. The Capital Resource will be established from attested Audited Reports by chartered accountant firms only, preferably for the last three years | 10 | 6 | 6 | 0 | 10 |
| **7.2** | **Firm Registration** |   |   |   |   |
| **7.3** | Firm registered with DRAP (Drug Regularity Authority of Pakistan) to import / manufacture of medical devices. | 2 | 0 | 0 | 0 | 2 |
| **7.4** | Valid ISO 9001 Quality Management Certificate of the firm from PNAC. | 3 | 0 | 0 | 0 | 0 |
| **B** | **Total Score of the Firm/Bidder Evaluation Parameters** | 21 | 7 | 6 | 0 | 13 |
| **C** | **Total Score C= (A + B)** | 70 | 26 | 31 | 19 | 42 |

| **Evaluation Criteria for Item#67 2-8 C Refrigerator** |
| --- |
|  |  |  | **M/S Key scientific Corporation** | **M/S Irfan Enterprises** | **M/S SU Enterprises** |
| **S. No.** | **Description of Variables** |   |   |   |   |
| **A** | **Product / Manufacturer Evaluation Parameters** |   |   |   |
| **1** | Compliance Sheet in attached Viz-a-Viz format / form. | Mandatory  | NO | YES | YES |
| **1.1** | Product General Information | Mandatory  | YES | YES | YES |
| **1.2** | Ref. No of item in SBD Schedule of Requirement | Mandatory  | YES | YES | YES |
| **1.3** | Name of equipment | Mandatory  | YES | YES | YES |
| **1.4** | **Manufacturer Authorization Distributor Certificate** (A certificate from OEM (Original Equipment Manufacturer) clarifying that the bidder is authorized by the manufacturer for the Quoted Items). | Mandatory  | YES | YES | YES |
| **1.5** | **Registration with income tax (who are on Active Tax Payer List), Sales Tax and Excise and Taxation Department of Khyber Pakhtunkhwa.**  | Mandatory  | YES | YES | YES |
| **1.6** | **Brochures/literature** containing the specifications of the Quoted equipment. (Offers from bidders who have not Quoted the make/model and Brochure of the equipment will not be entertained and will be rejected in the preliminary technical evaluation process). | Mandatory  | YES | YES | YES |
| **1.7** | **Undertaking** from the bidder on judicial stamp paperthat it has not been blacklisted by any government entity or its owner(s) has not been partner of any previously blacklisted firm(s) and has not been litigated by any government/autonomous entity. | Mandatory  | YES | YES | YES |
| **1.8** | **Warranty Period** of three years both with spare parts and services & Next two-year services only without parts, from the date of Installation / Commissioning. | Mandatory  | YES | YES | YES |
| **1.9** | **Undertaking** that the response time and resolution of any problem/technical issue/defect will be less than 24 hours. | Mandatory  | YES | YES | YES |
| **2** | **Conformance to Specification** |   |   |   |
| **2.1** | Fully compliance with the required specifications as per Statement of Requirement.  | 15 | 15 | 15 | 15 |
| Minor deviations may be accommodated up to 4, subject to the condition that main function and performance in any aspect would not be affected. **More than 4 minor deviations will be considered as major deviation and the bidder will be considered as Non-Responsive for the Quoted Item.** (One mark for each exceeding 4 deviation will be deducted). |
| **3** | **Product International Certification** |
| **3.1** | Valid Certificate of US Food and Drug Administration (USFDA) of Quoted Item. | 3 | 0 | 0 | 0 |
| **3.2** | Certificate of European community Medical devices directive (CEMDD). | 3 | 0 | 0 | 0 |
| **3.3** | Certificate of Japan Industrial Standard, Ministry of health labor and welfare Japan (JIS/MHLW). (English Version) | 3 | 0 | 0 | 0 |
| **4** | **Manufacturer/Distributor Performance** |   |   |   |
| **4.1** | Valid ISO 13485 Medical Devices Quality Management Systems Certificate for Quoted model. | 2 | 2 | 2 | 0 |
| **4.2** | Weightage for local Pakistani origin manufacturer. | 3 | 0 | 0 | 0 |
| **4.3** | ISO 9001 Quality Management Certificate from IAF (International Accreditation Forum). | 2 | 2 | 2 | 2 |
| **4.4** | OSHAS 18001/45001, Occupational Health & Safety Series from IAF (International Accreditation Forum) | 2 | 0 | 0 | 0 |
| **5** | **After Sale Product Local Performance** |   |   |   |
| **5.1** | Two marks (max 10 marks) for **each after sale satisfactory performance certificate (verifiable) on letter head, signed and stamped letter** for the Quoted model or previous provided model of equipment from the **public sector/educational institution** of Pakistan.  | 10 | 0 | 6 | 10 |
| **Supply Order / Purchase Order / Installation reports / Delivery challan will not be considered as satisfactory performance certificate.** |
| **5.2** | One mark for **each after sale satisfactory performance certificate (verifiable) on letter head** for the Quoted/previous model installed at **teaching level private sector medical/pharmaceutical institution of Pakistan**.  | 6 | 0 | 0 | 2 |
| **Supply Order / Purchase Order / Installation reports / Delivery challan will not be considered as satisfactory performance certificate**. |
|   |
| **A** | **Total score of the Product Manufacturer/authorized distributor Evaluation Parameters** | 49 | 19 | 25 | 29 |
| **B** | **Firm/Bidder Evaluation Parameters** |   |   |   |
| **1** | **Personnel/Human Resource**  |   |   |   |
| **6.1** | Diploma of Associate Engineer (DAE) in electrical / electronic / biomedical / mechatronics / mechanical / industrial. DAE certificate must be submitted. (1 mark for each certificate) | 2 | 0 | 0 | 0 |
| **6.2** | Engineer with PEC Registration in electrical / electronics, biomedical / mechatronics / mechanical / industrial. PEC registration card of the engineer must be submitted. (1 marks for each Engineer) or Relevant Technical expert of application on equipment | 3 | 0 | 0 | 0 |
| **6.3** | Undertaking on judicial stamp paper for availability of spare parts. | 1 | 1 | 0 | 1 |
| **7** | **Firm/Bidder Financial Strength** |   |   |   |
| **7.1** | Marks will be to firm/bidder on the basis of Capital Resource 30 M or above will be awarded 10 marks in last 3 years. Rs.20M to Rs.29.9 M will be awarded 6 marks in last 3 years. Rs.19.9 M to Rs.10 M will be awarded 3 marks as on 30th June, 2020. No marks shall be given for Capital Resource of Less than 10 M. The Capital Resource will be established from attested Audited Reports by chartered accountant firms only, preferably for the last three years | 10 | 6 | 6 | 10 |
| **7.2** | **Firm Registration** |   |   |   |
| **7.3** | Firm registered with DRAP (Drug Regularity Authority of Pakistan) to import / manufacture of medical devices. | 2 | 0 | 0 | 2 |
| **7.4** | Valid ISO 9001 Quality Management Certificate of the firm from PNAC. | 3 | 0 | 0 | 0 |
| **B** | **Total Score of the Firm/Bidder Evaluation Parameters** | 21 | 7 | 6 | 13 |
| **C** | **Total Score C= (A + B)** | 70 | 26 | 31 | 42 |
|  |  |

| **Evaluation Criteria for LOT#12 (ITEMS#93,94,95,96,97,98,99),**  |
| --- |
| **S. No.** | **Description of Variables** | **To firm/bidder Points/Marks** | **M/S Molecular Biology Products** | **M/S H.A Shah** | **M/S Pakistan Hospital** |
| **A** | **Product / Manufacturer Evaluation Parameters** |   |   |   |
| **1** | Compliance Sheet in attached Viz-a-Viz format / form. | Mandatory | NO | YES | YES |
| **1.1** | Product General Information | Mandatory | YES | YES | YES |
| **1.2** | Ref. No of item in SBD Schedule of Requirement | Mandatory | YES | YES | YES |
| **1.3** | Name of equipment | Mandatory | YES | YES | YES |
| **1.4** | **Manufacturer Authorization Distributor Certificate** (A certificate from OEM (Original Equipment Manufacturer) clarifying that the bidder is authorized by the manufacturer for the Quoted Items). | Mandatory | YES | YES | YES |
| **1.5** | **Registration with income tax (who are on Active Tax Payer List), Sales Tax and Excise and Taxation Department of Khyber Pakhtunkhwa.**  | Mandatory | YES | YES | YES |
| **1.6** | **Brochures/literature** containing the specifications of the Quoted equipment. (Offers from bidders who have not Quoted the make/model and Brochure of the equipment will not be entertained and will be rejected in the preliminary technical evaluation process). | Mandatory | YES | YES | YES |
| **1.7** | **Undertaking** from the bidder on judicial stamp paper that it has not been blacklisted by any government entity or its owner(s) has not been partner of any previously blacklisted firm(s) and has not been litigated by any government/autonomous entity. | Mandatory | YES | YES | YES |
| **1.8** | **Warranty Period** of three years both with spare parts and services & Next two-year services only without parts, from the date of Installation / Commissioning. | Mandatory | NO | YES | YES |
| **1.9** | **Undertaking** that the response time and resolution of any problem/technical issue/defect will be less than 24 hours. | Mandatory | NO | YES | YES |
| **2** | **Conformance to Specification** |   |   |   |
| **2.1** | Fully compliance with the required specifications as per Statement of Requirement.  | 15 | **NOT QUOTED ALL ITEMS OF LOT12** | 15 | **NOT QUOTED ALL ITEMS OF LOT12** |
| Minor deviations may be accommodated up to 4, subject to the condition that main function and performance in any aspect would not be affected. **More than 4 minor deviations will be considered as major deviation and the bidder will be considered as Non-Responsive for the Quoted Item.** (One mark for each exceeding 4 deviation will be deducted). |
| **3** | **Product International Certification** |
| **3.1** | Valid Certificate of US Food and Drug Administration (USFDA) of Quoted Item. | 3 | 0 | 0 | 0 |
| **3.2** | Certificate of European community medical devices directive (CEMDD). | 3 | 0 | 0 | 0 |
| **3.3** | Certificate of Japan Industrial Standard, Ministry of health labor and welfare Japan (JIS/MHLW). (English Version) | 3 | 0 | 0 | 0 |
| **4** | **Manufacturer/Distributor Performance** |   |   |   |
| **4.1** | Valid ISO 13485 Medical Devices Quality Management Systems Certificate for Quoted model. | 2 | 0 | 0 | 0 |
| **4.2** | Weightage for local Pakistani origin manufacturer. | 3 | 0 | 0 | 0 |
| **4.3** | ISO 9001 Quality Management Certificate from IAF (International Accreditation Forum). | 2 | 0 | 2 | 0 |
| **4.4** | OSHAS 18001/45001, Occupational Health & Safety Series from IAF (International Accreditation Forum) | 2 | 0 | 0 | 0 |
| **5** | **After Sale Product Local Performance** |   |   |   |
| **5.1** | Two marks (max 12 marks) for each **after sale satisfactory performance certificate (verifiable) on letter head**, signed and stamped letter for the similar or relevant chemicals/consumables/kits from the **public sector/educational institution** of Pakistan. | 12 | 0 | 6 | 0 |
| **Supply Order / Purchase Order / Installation reports / Delivery challan will not be considered as satisfactory performance certificate.** |
|   |
| **5.2** | One mark for each **after sale satisfactory performance certificate (verifiable) on letter** head for the similar or relevant chemicals/consumables/kits at **teaching level private sector medical/pharmaceutical institution of Pakistan**.  | 8 | 0 | 1 | 0 |
| **Supply Order / Purchase Order / Installation reports / Delivery challan will not be considered as satisfactory performance certificate.** |
|   |
| **A** | **Total score of the Product Manufacturer/authorized distributor Evaluation Parameters** | **53** | 0 | 24 | 0 |
| **B** | **Firm/Bidder Evaluation Parameters** |   |   |   |
| **7** | **Firm/Bidder Financial Strength** |   |   |   |
| **7.1** | A.  Marks will be to firm/bidder on the basis of having Capital Resource.20 million or above will be awarded 12 marks as at June 30th, 2020. Rs.10 million to Rs.19.9 million will be awarded 6 marks. Rs.0.5 million to Rs.1 million will be awarded 3 marks as on 30th June, 2020. No marks shall be given for Capital Resource of Less than 0.5 million. The Capital Resource will be established from attested Audited Reports by chartered accountant firms only as at June 30th, 2020. However, the firms will provide Audited Reports of last three years. | 12 | 0 | 10 | 0 |
| **7.2** | **Firm Registration** |   |   |   |
| **7.3** | Firm registered with DRAP (Drug Regularity Authority of Pakistan) to import / manufacture of medical devices. | 2 | 0 | 2 | 0 |
| **7.4** | Valid ISO 9001 Quality Management Certificate of the firm from PNAC. | 3 | 0 | 0 | 0 |
| **B** | **Total Score of the Firm/Bidder Evaluation Parameters** | **17** | 0 | 12 | 0 |
| **C** | **Total Score C= (A + B)** | **(53+17) = 70** | 0 | 36 | 0 |

| **Sr No.** | **Items** | **Lot** | **M/S Al-Qazi Marketing** | **M/S HospiCare** | **M/S BioSorin** | **M/S Molecular Biology Products** | **M/S Musaji** | **M/S Sahaab International** | **M/S H.A Shah** | **M/S Global Marketing Services** | **M/S Mercy Enterprises** | **M/S Pakistan Hospital** | **M/S Hoora Pharma** | **M/S Life Span Health care** | **M/S Scientific Supplies** | **M/S SMK Scientific** | **M/S Key Scientific** | **M/S BioTech Scientific** | **M/S Irfan Enterprises** | **M/S Med Lab** | **M/S Rays Technology** | **M/S SU Enterprises** | **M/S Chemical House** |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **1** | **Dengue RT-PCR Kits** | **1** | Not Quoted | Not Quoted | 36 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **2** | **Crimean-Congo hemorrhagic fever (CCHF) RT- PCR Kit** | **1** | Not Quoted | Not Quoted | 36 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **3** | **Influenza Screen & Type RT-PCR Kit** | **1** | Not Quoted | Not Quoted | 36 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **REMARKS** | After discussion of technical committee and evaluation according to eligibility criteria for **LOT#1 Comprise of item# 1,2 &3** the following offers were found **Responsive.** **1. M/S Bio Sorin**  |
| **4** | **Miicrobial detection API strips 20E** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **5** | **Blood agar** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **6** | **Blood Culture Bottles (Adult Set)** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **7** | **Blood Culture Bottles (Pediatric Set)** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **8** | **Coverslip** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **9** | **Culture Plates / Petri Dish** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **10** | **Disk Dispenser** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **11** | **Gram Stain Kit** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **12** | **Glass Jar with lid for Media Preparation (500ml)** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **13** | **Glass Jar with lid for Media Preparation (1000ml)** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **14** | **Loop Sterilizer**  | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **15** | **MacConkey Agar** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **16** | **Metallic wire loop**  | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **17** | **Muller Hinton Agar** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **18** | **Oil Immersion** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **19** | **Salmonella Chromogenic Agar Base** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **20** | **Salmonella Selective Supplement** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **21** | **Salmonella Shigella agar (SS agar)** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **22** | **Slide staining rack** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **23** | **Slides** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **24** | **Swab stick** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **25** | **Test Tubes** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **26** | **Distilled water ampoule** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **27** | **Alcohol swab** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **28** | **Antibiotic discs** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **29** | **Pipette Filler / motorized pipette / pipette gun** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **30** | **Glass Pipettes, 2ml** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **31** | **Glass Pipettes, 5ml** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| **32** | **Glass pipettes, 10 ml** | **2** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted |
| After discussion of technical committee and evaluation according to eligibility criteria **for LOT#2 from item# 4 to 32**, the following offers were found **Non-Responsive** on the following grounds:1. **M/S Musaji, 2. M/S Global Marketing Services, 3. M/S Mercy Enterprises, 4. SMK Scientific, 5. M/S Rays Technology.**

Since the mentioned firms have failed to quote all the items in LOT#2, and **as per technical committee bidder were required to quote all the items of LOT otherwise will be considered Non-Responsive.** |
| **33** | **Single Channel Pippette 1-10ul** | **3** | Not Quoted | 32 | Not Quoted | Not Quoted | 29 | Not Quoted | 37 | Not Quoted | Not Quoted | 35 | Not Quoted | Not Quoted | Not Quoted | 15 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 35 | 29 | Not Quoted |
| **34** | **Single Channel Pippette 10-100ul** | **3** | Not Quoted | 32 | Not Quoted | Not Quoted | 29 | Not Quoted | 37 | Not Quoted | Not Quoted | 35 | Not Quoted | Not Quoted | Not Quoted | 15 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 35 | 29 |   |
| **35** | **Single Channel Pippette 20-200ul** | **3** | Not Quoted | 32 | Not Quoted | Not Quoted | 29 | Not Quoted | 37 | Not Quoted | Not Quoted | 35 | Not Quoted | Not Quoted | Not Quoted | 15 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 35 | 29 | Not Quoted |
| **36** | **Single Channel Pippette 100-1000ul** | **3** | Not Quoted | 32 | Not Quoted | Not Quoted | 29 | Not Quoted | 37 | Not Quoted | Not Quoted | 35 | Not Quoted | Not Quoted | Not Quoted | 15 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 35 | 29 | Not Quoted |
| **37** |  **Pipette stand** | **3** | Not Quoted | 32 | Not Quoted | Not Quoted | 29 | Not Quoted | 37 | Not Quoted | Not Quoted | 35 | Not Quoted | Not Quoted | Not Quoted | 15 | Not Quoted | Not Quoted |   | Not Quoted | 35 | 29 | Not Quoted |
| **REMARKS** | After discussion of technical committee and evaluation according to eligibility criteria for **LOT#3, items #33,34,35,36 &** **37** the following offers were found **Responsive:** **1. M/S H.A Shah, 2. M/S Rays Technology 3. M/S Pakistan Hospital,** Further the technical committee declared the following firms **Non-Responsive** on the following grounds: 1. **M/S Hospicare, 2. M/s Musaji, 3. M/S SMK Scientific, and 4. M/S SU Enterprises.**

Since the mentioned firms have obtained marks less than 35 out of 70, and **as per technical committee evaluation criteria all bidder is required to at least obtained 35 marks out 70 will be considered responsive.** |
| **38** | **Multichannel Pipette 5-50 ul** | **4** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | 37 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 35 | Not Quoted | Not Quoted |
| **39** | **Multichannel Pipette 10-100ul** | **4** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | 37 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 35 | Not Quoted | Not Quoted |
| **40** | **Multichannel Pipette 50-300 ul** | **4** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | 37 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 35 | Not Quoted | Not Quoted |
| **41** | **Multichannel Pipette 100-1000ul**  | **4** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | 37 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 35 | Not Quoted | Not Quoted |
| **42** | **Pipette stand** | **4** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | 37 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 35 | Not Quoted | Not Quoted |
| **REMARKS** | After discussion of technical committee and evaluation according to eligibility criteria for **LOT#4 from item#38 to 42,** the following offers were found **Responsive**:  **1. M/S H.A Shah 2. M/S Rays Technology**Further the technical committee declared the following firms **Non-Responsive** on the following grounds: 1. **M/S Musaji, and 2. M/S SMK Scientific**

not quoted all the items in **LOT#4, as per technical committee bidders were required to quote all the items of LOT otherwise will be considered Non-Responsive,** moreover the firms have obtained marks less than 35 out of 70, and **as per technical committee evaluation criteria all bidders are required to at least obtained 35 marks out of 70** otherwise **will be considered Non-Responsive.** |
| **43** | **Pipette auto-dispensing** |  | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **44** | **Pipette filter Tips 10-100** | **5** | Sample Approved by Sub Committee | Not Quoted | Not Quoted | Sample Approved by Sub Committee | Not Quoted | Sample not Approved by Sub Committee | Not Quoted | Not Quoted | Sample not Provided | Sample Approved by Sub Committee | Not Quoted | Not Quoted | Not Quoted | Sample not Provided | Not Quoted | Sample Approved by Sub Committee | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **45** | **Pipette filter Tips 20-200** | **5** | Sample Approved by Sub Committee | Not Quoted | Not Quoted | Sample Approved by Sub Committee | Not Quoted | Sample not Approved by Sub Committee | Not Quoted | Not Quoted | Sample not Provided | Sample Approved by Sub Committee | Not Quoted | Not Quoted | Not Quoted | Sample not Provided | Not Quoted | Sample Approved by Sub Committee | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **46** | **Pipette filter Tips 100-1000**  | **5** | Sample Approved by Sub Committee | Not Quoted | Not Quoted | Sample Approved by Sub Committee | Not Quoted | Sample not Approved by Sub Committee | Not Quoted | Not Quoted | Sample not Provided | Sample Approved by Sub Committee | Not Quoted | Not Quoted | Not Quoted | Sample not Provided | Not Quoted | Sample Approved by Sub Committee | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
|  | After discussion of technical committee and evaluation according to eligibility criteria for **LOT#5 items#44,45 &46** the following offers were found **Responsive.** 1. **M/S Al-Qazi Marketing, 2. M/S Molecular Biology Products, 3. M/S Pakistan Hospital, 4. M/S Biotech Scientific.**

Moreover, the following firms/bidders were found **Non-Responsive** on the following grounds: 1. **M/S Sahaab International, 2. M/S Mercy Enterprises AND 3. SMK Scientific.**

As per constituted Sub Committee and technical committee sample provided by the Bidder/firm was not **approved/recommended for purchase.**  |
| **47** | **Eppendorf tubes** |  | Not Quoted | Not Quoted | Not Quoted | Sample Approved by Sub Committee | Not Quoted | Sample Approved by Sub Committee | Not Quoted | Not Quoted | Sample not Provided | Sample Approved by Sub Committee | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Sample not Approved by Sub Committee | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
|  | After discussion of technical committee and evaluation according to eligibility criteria for **item# 47** the following offers were found **Responsive.** 1. **M/S Molecular Biology Products 2. M/S Sahaab International, 3. M/S Pakistan Hospital.**

Moreover, the following firms/bidders were found **Non-Responsive** on the following grounds:1. **M/S Mercy Enterprises and 2. M/S Biotech Scientific.**

As per constituted Sub Committee and technical committee sample provided by the firm was not **approved/recommended for Purchase.** |
| **48** | **Automated RNA Extraction Kit** |  | Not Quoted | Not Quoted | 41 | Non-Responsive as not match with required specifications | Not Quoted | Non-Responsive as not match with required specifications | Not Quoted | 39 | Not Quoted | 37 | 48 | Non-Responsive as not match with required specifications | 35 | Not Quoted | Not Quoted | 23 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **REMARKS** | After discussion of technical committee and evaluation according to eligibility criteria for **item# 48** the following offers were found **Responsive.**  **1. M/S Bio Sorin 2. M/S Pakistan Hospital, 3. M/S Hoora Pharma 4. M/S Global Marketing Services, 5. M/S Scientific Supplies,**Moreover, the following firms/bidders were found **Non-Responsive** on the following grounds: **1. M/S Molecualar Biology Products, 2. M/S Sahaab International, 3. M/S Lifes pan Healthcare, 4. M/S BioTech Scientific** As per required criteria the firms/bidder **Not match with the required specifications** for the quoted item or have obtained marks less than 35 out of 70, and **as per technical committee evaluation criteria all bidders are required to at least obtained 35 marks out of 70** otherwise **will be considered Non-Responsive.** |
| **49** | **COVID-19 PCR Amplification Kit** |  | Not Quoted | Not Quoted | 41 | 17 | Not Quoted | Non-Responsive as not match with required specifications | 38 | 44 | Not Quoted | 37 | 48 | 34 | 35 | Not Quoted | Not Quoted | 23 | Not Quoted | 36 | Not Quoted | Not Quoted | Not Quoted |
| **REMARKS** | After discussion of technical committee and evaluation according to eligibility criteria for **item# 49** the following offers were found **Responsive.** 1. **M/S Bio Sorin, 2. M/S H.A Shah, 3. M/S Global Marketing, 4. M/S Pakistan Hospital, 5. Hoora Pharma, 6. Med Lab 7. M/S Scientific Supplies,**

Moreover, the following firms/bidders were found **Non-Responsive** on the following grounds: **1. M/S Sahaab International, 2. M/S Molecular Biology Products 3. M/S Life span Health care 4. M/S Biotech Scientific** As per required criteria the firms/bidder **Not match with the required specifications** for the quoted item ***or*** have obtained marks less than 35 out of 70, and **as per technical committee evaluation criteria all bidders are required to at least obtained 35 marks out of 70** otherwise **will be considered Non-Responsive.** |
| **50** | **PCR strips 0.1ml**  | **6** | Sample Approved by Sub Committee | Not Quoted | Not Quoted | Sample not Approved by Sub Committee | Not Quoted | Sample Approved by Sub Committee | Not Quoted | Not Quoted | Sample not Provided | Sample Approved by Sub Committee | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Sample not Approved by Sub Committee | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **51** | **PCR strips 0.2ml**  | **6** | Sample Approved by Sub Committee | Not Quoted | Not Quoted | Sample not Approved by Sub Committee | Not Quoted | Sample Approved by Sub Committee | Not Quoted | Not Quoted | Sample not Provided | Sample Approved by Sub Committee | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Sample not Approved by Sub Committee | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **REMARKS** | After discussion of technical committee and evaluation according to eligibility criteria for **LOT# 6 item#50 & 51** the following offers were found **Responsive.** 1. **M/S Al-Qazi Marketing, 2. M/S Sahaab International, 3. M/S Pakistan Hospital,**

Moreover, the following firms/bidders were found **Non-Responsive** on the following grounds: 1. **Molecular Biology Products 2. M/S Mercy Enterprises and 3. M/S BioTech Scientific.**

As per constituted Sub Committee and technical committee sample provided by the Bidder/firm was not **approved/recommended for Purchase.** |
| **52** | **Biohazards Bags** |  | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Sample Approved by Sub Committee | Sample not Approved by Sub Committee | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **REMARKS** | After discussion of technical committee and evaluation according to eligibility criteria for **item # 52** the following offers were found **Responsive.** 1. **M/S Musaji Adam & Sons,**

Moreover, the following firms/bidders were found **Non-Responsive** on the following grounds: 1. **M/S Sahaab International.**

As per constituted Sub Committee and technical committee sample provided by the Bidder/firm was not **approved/recommended for Purchase.** |
| **53** | **Head Cover** |  | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Sample not Provided | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **54** | **Dungarees** |  | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Sample not Provided | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **55** | **Gowns/Coverall** |  | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Sample not Provided | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **56** | **N95 Mask** |  | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **57** | **Surgical Mask** |  | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Sample not Provided | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **58** | **Gloves** |  | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Sample not Approved by Sub Committee | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Sample not Provided | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **59** | **Shoe Cover** |  | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Sample not Provided | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **60** | **Ethanol / Alcohol** |  | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Sample not Provided | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **61** | **Gel Documentation System on Board computer for system interface** | **7** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 35 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 27 | Not Quoted all items | 27 |
| **62** | **Midi Horizontal agarose gel electrophoresis system with power supply**  | **7** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 35 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 27 | Not Quoted all items | 27 |
| **REMARKS** | After discussion of technical committee and evaluation according to eligibility criteria for **LOT#7 comprise of item#61 & 62**, the following offers were **Responsive:** **1. M/S Pakistan Hospital,**Moreover, the following firms were declared non responsive on the following grounds:**1. M/S Rays Technology, 2. M/S Chemicals House, 3. M/S SU Enterprises**Since the mentioned firms have obtained marks less than 35 out of 70, and as per technical committee evaluation criteria all bidder is required to at least obtained 35 marks out 70 will be considered **Non-Responsive** |
| **63** | **Ethanol / Alcohol**  |  | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Sample not Provided | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **64** | **RNA DNA free Water**  |  | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Sample not Provided | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **65** | **Ultra-low freezer -86C** |  | Not Quoted | 25 | Not Quoted | Not Quoted | Not Quoted | 10 | 37 | Not Quoted | Not Quoted | 24 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 22 | Not Quoted | Non-Responsive as not match with required specifications | Not Quoted | Not Quoted | 38 | Not Quoted |
| **REMARKS** | After discussion of technical committee and evaluation according to eligibility criteria for **item# 65** the following offers were found **Responsive.** 1. **M/S SU Enterprises, 2. M/S H.A Shah**

Moreover, the following firms/bidders were found **Non-Responsive** on the following grounds: **1. M/S Hospicare , 2. M/S Sahaab International 3. M/S Pakistan Hospital, 4. M/S Key Scientific, 5. M/S Irfan Enterprises, as** per required criteria the firms/bidder **Not match with the required specifications** for the quoted item ***or*** have obtained marks less than 35 out of 70, and **as per technical committee evaluation criteria all bidders are required to at least obtained 35 marks out of 70** otherwise **will be considered Non-Responsive.** |
| **66** | **Freezer -20C** |  | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 19 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 26 | Not Quoted | 31 | Not Quoted | Not Quoted | 42 | Not Quoted |
| **REMARKS** | After discussion of technical committee and evaluation according to eligibility criteria for **item# 66** the following offers were found **Responsive.** 1. **M/S SU Enterprises**

Moreover, the following firms/bidders were found **Non-Responsive** on the following grounds:1. **M/S Sahaab International 2. M/S Key Scientific, 3. M/S Irfan Enterprises,**

As per required criteria the firms/bidder **Not match with the required specifications** for the quoted item ***or*** have obtained marks less than 35 out of 70, and **as per technical committee evaluation criteria all bidders are required to at least obtained 35 marks out of 70** otherwise **will be considered Non-Responsive.** |
| **67** | **Refrigerator 2 - 8 c** |  | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 26 | Not Quoted | 31 | Not Quoted | Not Quoted | 42 | Not Quoted |
| **REMARKS** | After discussion of technical committee and evaluation according to eligibility criteria for **item# 67** the following offers were found **Responsive.** 1. **M/S SU Enterprises**

Moreover, the following firms/bidders were found **Non-Responsive** on the following grounds:1. **M/S Key Scientific, 2. M/S Irfan Enterprises,**

As per required criteria the firms/bidder **Not match with the required specifications** for the quoted item ***or*** have obtained marks less than 35 out of 70, and **as per technical committee evaluation criteria all bidders are required to at least obtained 35 marks out of 70** otherwise **will be considered Non-Responsive.** |
| **68** | **Garbage/Trash Bin**  | **8** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **69** | **Garbage/Trash Bin**  | **8** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **70** | **Hydraulic Jack lift Trolley**  | **8** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **71** | **PC Core i5, With UPS** | **9** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **72** | **Photocopier**  | **9** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **73** | **Scanner**  | **9** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **74** | **Tissue Rolls**  | **10** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **75** | **Disposable Glasses**  | **10** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **76** | **Insets Killer Hanging Lamp**  | **10** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **77** | **Store Rack** | **10** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **78** | **Covid19 Antibodies kits:** |  | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Sample not Provided | Not Quoted | Not Quoted | Not Quoted |
| **79** | **NGS Flow cells** | **11** | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Responsive | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **80** | **Ligation sequencing Kit** | **11** | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Responsive | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **81** | **Flow cell wash kit** | **11** | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Responsive | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **82** | **SFB Expansion Kit.** | **11** | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Responsive | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **83** | **Native Barcoding Expansion 1-12** | **11** | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Responsive | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **84** | **Native Barcoding Expansion 13-24** | **11** | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Responsive | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **85** | **Hot Start High-Fidelity 2X Master Mix.** | **11** | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Responsive | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **86** | **Nucease Free Water** | **11** | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Responsive | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **87** | **Paramagnetic bead-based reagent**  | **11** | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Responsive | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **88** | **dsDNA quantification Assay Kit**  | **11** | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Responsive | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **89** | **Blunt/TA Ligase Master Mix** | **11** | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Responsive | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **90** | **End Repair Library prep kit**  | **11** | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Responsive | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **91** | **Quick Ligation Module kit** | **11** | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Responsive | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **92** | **Magnetic Rack** | **11** | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Responsive | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **REMARKS** | After discussion of technical committee and evaluation according to eligibility criteria for **LOT# 11 items#79 to 92** the following offers were found **Responsive.** 1. **Pakistan Hospital**

Moreover, the technical committee declared the following firms **Non-Responsive** on the grounds:**1. M/S Molecualr Biology Products, 2. M/S Musaji,** Since the mentioned firms have **not Quoted all the items in lot 11** |
| **93** | **cDNA Kits** | **12** | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | 36 | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **94** | **ABI SeqStudio Cartridge V2** | **12** | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | 36 | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **95** | **Mastermix for Sequencing Reaction** | **12** | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | 36 | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **96** | **Hi-Di Formamide**  | **12** | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 36 | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **97** | **Optical Film adhesive clear** | **12** | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | 36 | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **98** | **Septa for Seqstudio** | **12** | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | 36 | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **99** | **SARS-CoV-2 Whole Genome Sequencing Reagents** | **12** | Not Quoted | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | 36 | Not Quoted | Not Quoted | Not Quoted all items | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted |
| **REMARKS** | After discussion of technical committee and evaluation according to eligibility criteria for **LOT#12**, the following offers were found **Responsive**. **1. M/S H.A Shah,**Moreover, the technical committee declared the following firms **Non-Responsive** on the following grounds:**1. M/S Molecular Biology Products, 2. Pakistan Hospital** **Not Quoted all the items in lot 12, as per technical committee bidders were required to quote all the items of LOT otherwise will be considered Non-Responsive** |

The meeting ended with vote of thanks.